## Slide 1
Graduation Project:
Analysis & Redesign of
Balaa Water Distribution Network
By:
Mohammed Noufal Mohammed Mohsen

## Slide 2
Objective of the Project :
1- Study the current water supply network of Balaa town
2- Take in to consideration the topography and study water flow in network
3- Explore defects in the network and try to find best design
4- Calculate if there is a need to other resources of water

## Slide 3
Study Area

## Slide 4
Objective of the Project :
Population = 8000 c
Area = 21121 dounm
Last update of the WDN = 1980’s

## Slide 5
Data Collection and Questionnaire Analysis

## Slide 6
Data Collection and Questionnaire Analysis
Chart: 
| High | Good | Low
 | 0.8 | 0.06 | 0.14

## Slide 7
Data Collection and Questionnaire Analysis
Chart: 
| Appropriate | Medium | Expensive
 | 0.2 | 0.34 | 0.46

## Slide 8
EPANET Program
Running hydraulic and water quality simulations.
Viewing the result in variety of formats which include colour-coded network maps, data tables, time series and contour plots.
Compute friction head loss using the Hazen-Williams, Darcy-Weisbach or Chezy-Manninig formulas.
Model various types of valves including shutoff, check, pressure, regulating and flow control valves.

## Slide 9
EPANET Program
Input ∙ Pipes
1- ID
2- Diameter
3- Length
4- Roughness

## Slide 10
EPANET Program
Input ∙ Node
1- ID
2- Elevation
3- Demand

## Slide 11
EPANET Program
Input ∙ Node

## Slide 12
EPANET Program
Input ∙ Node

## Slide 13
EPANET Program
Input ∙ Node

## Slide 14
EPANET Program
Input ∙ Node

## Slide 15
Time Pattern

## Slide 16
Analysis and Design of Future Water Supply Network
Out put ∙ Pipes Velocity

## Slide 17
Analysis and Design of Future Water Supply Network
Out put ∙ Node pressure

## Slide 18
Analysis and Design of Future Water Supply Network
PF = Po(1+i)n
Design Period = 30 years
Pf = 16785 c

## Slide 19
Analysis and Design of Future Water Supply Network
PF = Po(1+i)n
Design Period = 30 years
Pf = 16785 c

## Slide 20
Analysis and Design of Future Water Supply Network
Future Output >> Velocity

## Slide 21
Analysis and Design of Future Water Supply Network
Future Output >> Pressure

## Slide 22
Analysis and Design of Future Water Supply Network
Changed Pipes :
Pipe ID | Old Diameter (in.) | Future Diameter (in.)
9 | 2 | 3
11 | 2 | 3
17 | 3 | 4
18 | 2 | 4
20 | 3 | 4
51 | 3 | 4
52 | 3 | 4
53 | 3 | 4
56 | 3 | 4
57 | 3 | 4
58 | 3 | 4
76 | 6 | 4
83 | 6 | 2
88 | 2 | 2
89 | 6 | 2

## Slide 23
Analysis and Design of Future Water Supply Network
Cost :
Pipe Diameter | Total Length (m) | Cost per Meter Length (NIS/m) | Total Cost (NIS)
2’’ | 16535.2 | 80 | 1,322,816
3’’ | 3267.7 | 103 | 336,573
4’’ | 3867.2 | 126 | 487,267
6’’ | 2385.2 | 130 | 310,076
 |  | Total Cost | 2,456,732